FACILITY QUESTIONNAIRE

PART III (Heterogeneity Corrections and Motion Management)

A. Use of Heterogeneous Dose Calculations

If you are credentialing for a protocol that treats targets in or near (e.g. esophagus, liver or spine) and using IMRT and/or IGRT, you must complete this section.

8. Is your treatment planning system capable of using custom CT number to electron density tables or  does your institution use the TPS vendor supplied numbers?

Custom CT number to electron density tables		TPS vendor supplied

9. If custom tables are used, how were the numbers generated?

Using measured data from CT

Other (describe

B. Use of Respiration Control

10. List the protocol for which you are currently credentialing.  You should include in this list other protocols for which you have previously credentialed and that also require respiration control.

| List protocols (including the one you are currently credentialing for) used at your institution that require respiration control. | List the technique(s) you use for respiration control. (Enter the letters from the list in footnote 1.) | How do you evaluate the extent of target movement? (Enter the letters from the list in footnote 2.) | How do you verify the position of the target at the time of treatment? (Enter the letters from the list in footnote 3) | How often do you verify the target position for this particular protocol? (Enter the letter from the list in footnote 4) |
| --- | --- | --- | --- | --- |
| Protocol # |  |  |  |  |
| Protocol # |  |  |  |  |
| Protocol # |  |  |  |  |
| Protocol # |  |  |  |  |
| Protocol # |  |  |  |  |
| Protocol # |  |  |  |  |
| Protocol # |  |  |  |  |

FOOTNOTE

1. – a. voluntary breath hold at specific point in respiratory cycle 	b. abdominal compression

c. Automatic Breathing Coordinator  (ABC) 			d. ITV without control

e. Treatment unit gating 					f. tracking of target movement

2. – a. 4D CT		 b. Fluoroscopy			c. We use protocol specified margins to account for movement

3. – a. We use the IGRT technique described on the Part II IGRT Questionnaire.

b. We do not have any of the techniques that meet the RTOG definition of IGRT (see Part II Questionnaire), but we do use orthogonal port films or EPID images.

4. – a. Each fraction	b. First 5 fractions and weekly thereafter	c. Weekly

d. Other (describe)