### Credentialing for RTOG LDR Prostate Protocol

Knowledge Assessment Form

Institution			RTOG Institution #		              RTF#:

Physicist			Radiation Oncologist

Protocol #:    0815       0924        1115

Protocol Specifications:

Data to submit:  The following dosimetric data are to be submitted for each patient:

- .

- .

- .

- .

- .

1. The CTV will consist of the ____________ only.

2. The PTV may be the same as the __________ or a 2-3 mm margin may be included  anteriorly               posteriorly   laterally and up to 5mm  anteriorly  craniocaudally laterally.

3. Implants will only be offered to patients with a prostate volume documented to be less than  55cc

60cc 65cc by transrectal ultrasound examination, AUA symptom index less than equal to  15

16 17 and no prior history of TRUP.

4. The implant may be performed no later than ____ weeks upon the completion of external beam.

5. At least  5%  10%  12% of the sources will be assayed in such a manner that direct traceability to either the National Institute of Standards and Technology (NIST) or an Accredited Dosimetry Calibration Lab (ADCL)  is maintained.

6. The prescription dose for permanent seed interstitial boost is _______ Gy for 125I and _______Gy for 103Pd.

7. Doses will be prescribed as minimal peripheral dose to the PTV.   True   False

8. The postimplant CT-defined __________ will be defined as the ___________.

9. D90 for the ETV is greater than _______ of the prescription dose, but less than __________ of the prescription dose.

By our signatures we attest to the fact that we have performed 10 or more LDR prostate implants.

Radiation Physicist	Date	Radiation Oncologist	Date

Name Printed		Name Printed