RADIOLOGICAL PHYSICS CENTER

### ELECTRON MACHINE DATA

- INSTITUTION:		MACHINE:  		
			(in-house designation)

- MANUFACTURER:  		MODEL:  	Serial#:

- NOMINAL TREATMENT DISTANCE:  	 cm.

- BEAM FLATTENER:     Single foil	   Double foil 	   Scanned

- FIELD SIZE DEFINITION:   cones alone    jaws (trimmers)    cones with inserts

- DISTANCE FROM DISTAL END OF CONE TO TREATMENT SURFACE: ___ cm.

- CALIBRATION INFORMATION:

Present protocol:  	  	date implemented:  __/__/__  previous protocol:

- METHOD OF BEAM ENERGY VERIFICATION:       d50  (R50)+        Rp       other

| CALIBRATION SETUP: | Nominal Energy | Eo(R50)+ | #### I50 | RP | #### (dmax) | ##### Calib. Depth Actual/Eff. |
| --- | --- | --- | --- | --- | --- | --- |
| ___ cm X ___ cm, ___ cm SSD | (Mev) | (MeV) | (cm) | (cm) | (cm) | (cm)/(cm) |
| Phantom composition: ____ | ________ | __ __ | __ | _ | __ | / |
| # Density: _____ g/cm3 | __ | __ __ | __ | __ | __ | / |
| Ion chamber: ____________ | __ | __ __ | __ | __ | __ | / |
| Protective cap: composition | __ | __ | __ | __ | __ | / |
| & thickness ________ | __ | __ | __ | __ | __ | / |
| # Gantry angle_____ degrees | __ | __ | __ | __ | __ | / |
|  | __ | __ | __ | __ | __ | / |
|  | __ | __ | __ | __ | __ | / |

+If TG-51 is used to calibrate.

- How is effective point of measurement of the ion chamber determined?

- Attach a separate sheet indicating FACTORS USED TO CALCULATE ABSORBED DOSE RATE (Gy/mu) (give equation, define all factors and give numerical values; if a standard form is used include that form.  If a “consolidated factor” is used, attach copy of original calculation of that factor.)

ELECTRON MACHINE DATA (cont'd)

3.	DOSE PRESCRIPTION INFORMATION:

- Output dose rate is stated to:

# A.	 muscle or	 water

# B.	 dmax	 other/explain

# C.  at ____ cm     SSD.

- For protocol patients:  Calculated to muscle (tissue)?

yes     no 	If yes, indicate when this is done.

4.	PATIENT TREATMENT:

- For treatments at distance other than the nominal distance, how is the dose rate determined?

Measurement

Inverse square correction from nominal SSD (attach formula)

Inverse square correction from virtual source position (attach formula and list of virtual 		source positions)

- Measurement of depth dose data.  (attach copy)

Radiation detector used: ___________________  Type of phantom: _________________

Scanning system:

- Data used for patient calculations:

# % ionization

# % depth dose

# Corrected for effective point of measurement?  yes     no

5.	QUALITY ASSURANCE INFORMATION:

- How often is a full calibration done?	 monthly	 semi-annually	 yearly

- System used for full calibration?	 primary	 secondary

- How often are outputs checked?	 daily	 weekly

other/explain

- System used for routine output checks?	 primary	 secondary

other/explain

- What are the criteria for adjusting the output?