RADIOLOGICAL PHYSICS CENTER

### PHOTON MACHINE DATA

- INSTITUTION:		MACHINE:  		
			(in-house designation)

- MANUFACTURER:  		MODEL:  	Serial #:

- DATE MACHINE STARTED CLINICAL USE:  __/__/__

- NOMINAL TREATMENT DISTANCE:  	 cm

- PHOTON ENERGY:  STATED  	 MV 	, IONIZATION RATIO:  	, NAP  	MV

or %dd (10)x

- ANNUAL OUTPUT DETERMINATION:

Present protocol:  	  	date implemented:  __/__/__  previous protocol:

Ratio of dose rates TG-21/SCRAD or TG-51/TG-21:

- SETUP:  ___ cm x ___ cm, ___ cm S___D, depth: ___ cm

Gantry angle:  	

# Source to Chamber Distance:  ___ cm

# Distance from source to point of stated dose rate:  ___ cm

# phantom:  composition: 	,	density:  	g/cm3

ionization chamber:  		  thimble (wall) thickness:

protective cap; composition & thickness:

(if used in output measurements)

- Monitor end effect:  	 mu.  	Net mu	 less   greater  than mu set.

used during:    output calibration	  patient treatment

- FACTORS USED TO CALCULATE ABSORBED DOSE RATE (Gy/mu) FROM DOSIMETER READING (give equation, define all factors and give numerical values; attach extra sheet if necessary.  Attach detailed calculation from most recent annual calibration.)

PHOTON MACHINE DATA (cont’d.)

- DOSE PRESCRIPTION INFORMATION:

- Output dose rate is stated to:

# A.		muscle or	 water

# B.		miniphantom	 dmax	 other/explain

# C.	at ____ cm	 SAD	 SSD.

- For protocol patients:  Calculated to muscle (tissue)?

yes     no 	If yes, indicate when this is done.

- QUALITY ASSURANCE INFORMATION:

- How often is a full calibration done?	 monthly	 semi-annually	 yearly

- System used for full calibration?	 primary	 secondary

- How often are outputs checked?	 daily	 weekly

other/explain

- What are the criteria for readjusting the output?

>2%	>3%	>5%	 other/explain

- If output is allowed to float, what are the criteria for adjusting the monitor set for patient?

>2%	>3%	>5%	 other/explain

- System used for routine output checks?  Daily:

Periodic:      primary	secondary   Frequency:

- Distance from isocenter to reference point on machine:

Reference point (e.g. collimator base):

## Distance to isocenter:  _____  cm

How is this distance determined?

- Treatment techniques used?  SSD: ____%  SAD: ____%

- For treatments at distances other than the nominal distance, how is the dose rate determined?

Inverse square correction	 Measurement

- How is treatment distance determined for patients?

using ODI 	using lasers      other, describe

- How often are ODI and lasers compared to mechanical indicator?

- Source of depth dose data (published or measured).

Published	Reference

Measured	Device used  	Phantom

- How frequently are independent collimators used?

For what disease sites?

- How frequently are MLCs used?

For what disease sites?