Facility Questionnaire

# PART I (General Information for 3DCRT and IMRT)

The following items are required before you can enter cases on any RTOG protocol that requires data submission to the Image-Guided Therapy QA Center (ITC).  This includes 3DCRT, IMRT or IGRT protocols supported by the ITC.  Some of these protocols could require additional information relating to motion management or heterogeneous dose calculations when treating targets in or around the thorax.  Additionally, some protocols might require you to complete two or more additional forms.  For example, you must complete multiple forms for a protocol that requires or allows IMRT, IGRT and motion management.  The additional forms are available through the ITC.  If you have completed this or any of the other forms for previous credentialing and now wish to enter patients on another protocol requiring digital data submission, please request a copy of your previous application forms from the ITC.  You should update any information on these forms that has changed since your earlier credentialing.

  - Submit this completed Facility Questionnaire to:

Radiation Therapy Oncology Group (RTOG Headquarters) 
RT Quality Assurance Department

1818 Market Street; Suite 1600 
Philadelphia, PA  19103

Email: rtog-facquest@phila.acr.org

Phone: 215-574-3219 
FAX: 215-940-8817

  - Contact the ITC (itc@castor.wustl.edu) and request an FTP account for digital data submission

  - Submit and successfully complete any required protocol specific Dry-Run test

  - A successful phantom experiment may also be required depending on the specific protocol requirements

Institution Name:     	RTOG Institution #:

If Affiliate, Name of Member Institution:

Date Questionnaire Submitted:     /     /                                                   RTF#

List the best contact individuals for general question regarding RTOG protocols

Physicist:     e-mail:

Address:

Telephone:                  Fax:

Research Associate:     			e-mail:

Telephone:     	      Fax:

Dosimetrist:     				e-mail:

Telephone:     	      Fax:

Responsible Radiation Oncologist

Telephone:     	     			e-mail:

## A. Delivery Resources (TABLE 1)

List the treatment units you use for 3DCRT, IMRT or IGRT protocols.  (NOTE: If units differ in the type of multileaf collimator or IGRT capabilities, you should list them separately.  Please be sure to list all units that will be used with the protocol for which you are credentialing.  Also, if you do not intend to credential for IMRT, you can skip the last column.)

| ID # | Local identifier(s) of unit | Vendor | Model | Photon Energies Used for IMRT | Number of additional identical units | MLC or other beam modulator (footnote 1) | Uses (Check applicable boxes) |  | IMRT Method (see footnote 2) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  | IMRT |  | SMLC |
|  |  |  |  |  |  |  |  | IGRT |  | DMLC |
|  |  |  |  |  |  |  |  |  |  | Helical tomotherapy |
|  |  |  |  |  |  |  |  |  |  | Serial tomotherapy |
|  |  |  |  |  |  |  |  |  |  | other |
| 2 |  |  |  |  |  |  |  | IMRT |  | SMLC |
|  |  |  |  |  |  |  |  | IGRT |  | DMLC |
|  |  |  |  |  |  |  |  |  |  | Helical tomotherapy |
|  |  |  |  |  |  |  |  |  |  | Serial tomotherapy |
|  |  |  |  |  |  |  |  |  |  | other |
| 3 |  |  |  |  |  |  |  | IMRT |  | SMLC |
|  |  |  |  |  |  |  |  | IGRT |  | DMLC |
|  |  |  |  |  |  |  |  |  |  | Helical tomotherapy |
|  |  |  |  |  |  |  |  |  |  | Serial tomotherapy |
|  |  |  |  |  |  |  |  |  |  | other |
| 4 |  |  |  |  |  |  |  | IMRT |  | SMLC |
|  |  |  |  |  |  |  |  | IGRT |  | DMLC |
|  |  |  |  |  |  |  |  |  |  | Helical tomotherapy |
|  |  |  |  |  |  |  |  |  |  | Serial tomotherapy |
|  |  |  |  |  |  |  |  |  |  | other |
| 5 |  |  |  |  |  |  |  | IMRT |  | SMLC |
|  |  |  |  |  |  |  |  | IGRT |  | DMLC |
|  |  |  |  |  |  |  |  |  |  | Helical tomotherapy |
|  |  |  |  |  |  |  |  |  |  | Serial tomotherapy |
|  |  |  |  |  |  |  |  |  |  | other |

FOOTNOTES appear at the top of the next page

FOOTNOTES

1.  Enter the letter from the following list:

a. Varian 80 leaf			    b. Varian Millennium 120 leaf	    c. Elekta 80 leaf		d. Elekta 80 leaf Beam Modulator

e. Tomotherapy Binary Collimator	    f. NOMOS Binary Collimator	    g. Seimens 58 leaf		h. Siemens 82 leaf

i. 3D Line			   	     j. Radionics		     k. BrainLAB 52 leaf      	l.  BrainLAB Tx 120 leaf

m. physical compensators		    n. Cyber Knife using circular collimators

o. other

2. If you have checked the box for other in the last column of the above table, please explain in the space provided above and place additional information  here.

## B. List Protocols (TABLE 2a)

If the information listed in Part I of this form is different for various RTOG protocols, enter additional data here.  That is, if specific individuals are responsible for particular protocols at your institution, please list them in the table below.  Please update earlier information, and add the new protocol you are currently credentialing for at the end.

| Enter protocol # below | Are you credentialing for 3DCRT, IMRT, or IGRT (footnote 1) | Radiation Oncologist [List Rad Onc(s) in Table 2b and enter ID #(s) here] | Research Associate [List RA(s) in Table 2b and enter ID #(s) here] | Physicist [List physicist(s) in Table 2b and enter ID #(s) here] | Dosimetrist [List Dosimetrist(s) in Table 2b and enter ID #(s) here] | Does treatment in or near the thorax require heterogeneity corrections for this protocol? (footnote 2) | Does this protocol require treatment in or near the thorax so that respiration control is required? (footnote 2) | From the list of Delivery Resources (Table 1), insert the identification # of the unit(s) that will be used for this protocol. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |
| Protocol # |  |  |  |  |  |  |  |  |

FOOTNOTES

1 – enter 3DCRT, IMRT, IGRT, enter more than one in each blank if appropriate.

2 – enter Yes or No.  If Yes, you must complete the Part III questionnaire.

. List Protocols (TABLE 2b)

List personnel here, and enter numbers from the first column in this table in the appropriate location in the table above.

The names entered below should be for those individuals routinely involved with the protocol for which you are credentialing.  You can enter more than one name per protocol.

|  | Name | Occupation (check one) |  |  |  | e-mail | phone |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ID # |  | Physicist | Research Associate | Radiation Oncologist | Dosimetrist |  |  |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |

## C. Planning Resources (TABLE 3)

List your treatment planning systems here.  Skip the last column if you are not credentialing for IMRT

| I.D. # | Vendor | Software Version | Calculation Algorithm (Enter # from list in Footnote #1 below) | Treatment units commissioned for this system (Enter # from Table 1) | Is system commissioned for heterogeneity corrections? (Enter yes or no and see Footnote 2) | Does the system transfer beams to a phantom for QA? (Enter yes or no. If no, explain the technique you do use for IMRT QA in the blank space below.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

Footnote 1 (If you are using more than one calculation algorithm for a particular system, enter them separately in different rows of the table above.)

1. BrainLAB pencil beam		2. Corvus pencil beam		3. Helax pencil beam		4. Helax collapsed cone		5. Cadplan pencil beam	              6. Eclipse pencil beam		7. Eclipse AAA			8. PLUNC pencil beam		9. MSKCC pencil beam		10. Pinnacle fast convolve	            11. Pinnacle collapsed cone or adaptive convolution superposition	    12. XiO modified Clarkson or convolution		13. XiO superposition or fast superposition

14. Tomotherapy convolution superposition			    15. Other

Footnote 2  If you answered “no” for the question about the system being commissioned for heterogeneity corrections, please explain?  Identify each system using the # in the list.

## TREATMENT VERIFICATION

Note: If you use IGRT for patient positioning verification for some of your 3DCRT or IMRT treatments, you should complete the Part II questionnaire for IGRT.  The RTOG has a very specific definition for IGRT.  IGRT is defined here to include only those procedures where an x-ray imaging technique is used in combination with some form of computer-assisted manual or automatic registration with the image information obtained during the patient’s planning CT procedure.  The standard use of MV EPID images as a visual comparison to DRRs does not fall under this definition.  Also, the use of silver halide film radiographs alone is not accepted under this definition of IGRT.  Thus, you should use the Part II questionnaire only if you have this type of computer-assisted technology.  If you are using standard EPID or radiographic imaging, please answer the relevant question below.

Do you use IGRT in your department (see RTOG definition above)?    Yes         No

1. TREATMENT POSITIONING VERIFICATION FOR 3DCRT or IMRT

### How do you verify field positioning relative to the patient’s anatomy (check all that apply)?

| port film |  | orthogonal port films | BAT ultrasound |
| --- | --- | --- | --- |
| Other: |  |  |  |

### How often is positioning verification done?

| first treatment only |  | daily | weekly |
| --- | --- | --- | --- |
| Other: |  |  |  |

2. VERIFICATION OF DELIVERED DOSE FOR 3DCRT

### Describe the method(s) used to conduct a check of the dose and monitor unit calculations generated by the 3DRTP system.

### Are your 3DCRT treatments monitored by a record and verify system?

| Manufacturer & Model: |  |
| --- | --- |

3. VERIFICATION OF DELIVERED DOSE FOR IMRT

How do you verify that the treatment unit delivers the planned dose for individual patients?

- Absolute dose

point(s) measurement with

ion chamber (chamber size      )		  diode   		 TLD

radiographic film  	  radiochromic film

Other:

b. Relative dose

isodose distribution with

radiographic film    	 radiochromic film     	 Gel dosimetry

other

in      (#) axial planes  	     &  in     (#) sagittal planes          &  in     (#)coronal planes

Describe the type of  phantom you use for QA:

anthropomorphic  phantom	Vendor:

geometric phantom:      (material)

shape:  square     cylinder    other

size of phantom     cm  X      cm  X       cm

What agreement between planned and measured doses for individual patients is considered acceptable at your institution?

For absolute dose in target volume (high dose) region

For absolute dose in critical normal tissue region

For absolute dose in low dose region

For relative dose in high dose gradient region

For relative dose in low dose gradient region

in high dose region (target)

in low dose region

Are your monitor unit calculations checked by an independent program?

no			  yes    Vendor:

You have completed this form.  There are two additional forms you might have to complete.  If you answered “Yes” to the IGRT question at the top of page 6 and you are credentialing for an IGRT protocol, you must complete the Part II Questionnaire for IGRT.  If you answered “Yes” to the questions about motion management or heterogeneity corrections in Table 2a above, you must complete the Part III Questionnaire.  Please be sure to complete all necessary forms.  If IGRT is optional in the protocol you are credentialing and you do not intend to use this technology, you can simply skip that questionnaire.  However, you will not be able to use IGRT in the future until you have completed this requirement.